# Housekeeping

Preventive maintenance plays an important role in minimizing downtime.  The “House Keeping” or HouseKeep table is used to do periodic cleanup of database tables.  It is used to purge data no longer needed from the database.  These routines are typically established by Fortna personnel.

The HouseKeep table is used to configure the actions to be taken and to set the schedule.  Since time is often a consideration in deciding what to purge, database tables usually include a timestamp field.  Actions are entered in a format based on Structured Query Language (SQL).

## Cleanup Routines

There are three main items to consider when creating a cleanup routine.

- Frequency:  Decide how often to remove records from the table.  It is usually best to perform frequent deletions of a smaller number of records.  If large numbers of records need to be deleted, it is best to schedule the cleanup during hours of least system activity.

- Conditions:  Decide what conditions to use in removing records from a table. Space is provided for up to two parameters.  Remember to place the most restrictive condition first.  Use key fields for the conditions, if possible.

- Machine:  Decide which machine should handle the processing.  In most cases, it is best to have all of the machines perform each task, that way if one or more are offline, the action is still completed.  Whichever machine “gets there first” will do most of the work, so the others will not have much or anything to do, and their housekeeping tasks will complete quickly.

| House Keeping Table |  |
| --- | --- |
| FIELD | DESCRIPTION |
| Description | Enter a meaningful description of the action. |
| Table_Name | Choose a table to act upon from the “Menu of Menus” |
| HowOften | Enter an integer to fill in the phrase: “every Increment(s)” |
| Increment | Choose a period from the Interval table. Options are: Hour, Minute , Second , Wday (weekday, where 0=Sunday), Month, Mday (day of the month), Year (four digit), Yday (day of the year, starting with zero), Isdst (is daylight savings time 0=No, 1= Yes) |
| CurrentStat | Internal counter. The procedure is executed if Current Stat >= How Often. |
| WasStat | Displays the current value of the Increment. |
| Process | Choose the process that will perform the action: GUI, CTRL, SORT, SERV, SRV1, SRV2, MAIN. Typically the “MAIN” process is selected, as it runs at a lower priority and will not interfere with conveyor hardware operation. |
| Machine | Choose the machine to perform the action. Setting “All Machines” = “Y” will make this setting irrelevant. |
| All Machines | Set to “Y” to indicate this record should apply on all machines where it appears. If set to “Y”, will supersede the “Machine” setting. |
| Parm1 | Parameter 1. A condition statement formatted like an SQL WHERE clause. The resulting query executed against the database will be “DELETE FROM <Table_Name> WHERE <Parm1> <Const1> <Parm2> <Const2>” |
| Const1 | A string to be used by Parm1. |
| Parm2 | Parameter 2. An optional second condition formatted like an SQL WHERE clause, often prefixed with ‘AND’. |
| Const2 | A string to be used by the Parm2. |
| Type | Choose the way to interpret the Interval setting. Elapsed means “perform the action every time HowOften Increments have passed”. Absolute means “perform the action when the Increment value in WasStat matches HowOften”. Count means “perform the action after every HowOften cycles through the chosen Process have occurred” |
| LogFile | Select a log file. If a file is selected, the data in the database is written to an ASCII comma-delimited file. MaxRecords must be set to zero for this to occur. The Parm1, Const1, Parm2 and Const2 values are used to construct the query to SELECT the data. No records will ever be deleted. |
| MaxRecords | If MaxRecords is set to a value greater than 0, the housekeeping function will limit the number of records deleted to the value “MaxRecords”. It does this by deleting one row at a time. If LogFile is set, it will be ignored. Records will be deleted. . It is more efficient to include a “LIMIT” clause, as is done in the default entries (see below). |
| UniqueColumn | Enter the unique column that can be used in the Delete SQL statement to remove a single record. This is only used with the MaxRecords function but is required if that feature is used. |
| Status | The status field indicates if any errors were detected in trying to build the SQL statement. The status is only used with the MaxRecords function. |
| RecordsDeleted | The RecordsDeleted column is updated each time a record is deleted and will roll over to 0 when the count reaches 99,999. The value is only updated if the MaxRecords function is used. |

## Standard HouseKeep Entries

Two standard entries are pre-configured in the HouseKeep table to clean up the Error_Log and EventLog tables.  Most often, these are the only entries needed.

Error_Log contains records of system-generated error messages from all Automation Controllers at a site – everything defined in the Errors table.

EventLog contains records of system-generated events, such as users logging in/out, changes to tables, start and stop of the system, power loss events, etc.

They are set to run once an hour, using the SRV1 process on all machines, and will delete all entries older than 5 days.  A LIMIT clause prevents more than 5000 rows from being removed in a single pass to keep the housekeeping from running too long.

The retention period can easily be adjusted by altering the Const1 value.  Note that there is quantization – the TIMESTAMPDIFF function reports whole days.

The standard entries are:

| HouseKeep Table, part 1, MySQL |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description | Table_Name | HowOften | Increment | Process | Machine | All Machines |
| PURGE ERROR_LOG | Error_Log | 1 | Hour | SRV1 |  | Y |
| PURGE EVENT LOG | EventLog | 1 | Hour | SRV1 |  | Y |

| HouseKeep Table, part 2, MySQL |  |  |  |
| --- | --- | --- | --- |
| Parm1 | Const1 | Parm2 | Const2 |
| TIMESTAMPDIFF(DAY,STOPSTAMP,NOW())> | 5 | LIMIT 5000 |  |
| TIMESTAMPDIFF(DAY,EVENTTIMESTAMP,NOW())> | 5 | LIMIT 5000 |  |

| HouseKeep Table, part 3, MySQL |  |  |  |
| --- | --- | --- | --- |
| Type | LogFile | MaxRecords | UniqueColumn |
| Elapsed | N/A | 0 |  |
| Elapsed | N/A | 0 |  |

Note:  The status columns are omitted, as they are populated by the program.

In QNX4, which uses Sybase instead of MySQL, the syntax is slightly different:

| HouseKeep Table, part 1, Sybase |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Description | Table_Name | HowOften | Increment | Process | Machine |
| PURGE ERROR_LOG | Error_Log | 1 | Hour | SERV | CP1 |
| PURGE EVENT LOG | EventLog | 1 | Hour | SERV | CP1 |

| HouseKeep Table, part 2, Sybase |  |  |  |
| --- | --- | --- | --- |
| Parm1 | Const1 | Parm2 | Const2 |
| DAYS(STOPSTAMP,NOW(*))> | 5 |  |  |
| DAYS(EVENTTIMESTAMP,NOW(*))> | 5 |  |  |

| HouseKeep Table, part 3, Sybase |  |  |  |
| --- | --- | --- | --- |
| Type | LogFile | MaxRecords | UniqueColumn |
| Elapsed | N/A | 0 |  |
| Elapsed | N/A | 0 |  |

Note:  The status columns are omitted, as they are populated by the program.

The QNX4 versions do not have the “All Machines” column, so be sure to populate the “Machine” column with the name of “this” machine to activate the entry.  The SERV process was most often chosen in QNX4.  In Parm1, the functions to select rows based on timestamps are DAYS or HOURS.  The LIMIT clause is not available in Sybase.