| # FortnaPlus Control MenuPad |  |
| --- | --- |
| Document Revision: 1.1 |  |
| Date: 18-Jan-2021 |  |

Revision; Date; Author; Revision Summary. 1.0; 13-Jul-2012; T R Kremser; New document. 1.1; 18-Jan-2021; T R Kremser; Updates and general refresh.

Table of Contents

1.	MenuPad Table	4

Confidential/Proprietary Statement

This document contains trade secrets and information that is considered confidential and proprietary to Fortna, Inc.  It may not be duplicated, used, or disclosed outside the original recipient organization, and it may not be duplicated, in whole or in part, for any purpose other than to evaluate this document.  Fortna Material Handling reserves the right to modify this document as necessary to reflect any terms and conditions negotiated and included as part of a subsequent contract or purchase order.

# MenuPad Table

The MenuPad table was created at the request of Gerry Therrien to provide a way to gather arbitrary parts, timers and errors in a convenient place so their state may be observed without opening a lot of tables.

The MenuPad table depends entirely upon the normal behavior of FortnaPlus tables for its useful attributes:

- Parts, Timers and Errors may be selected by clicking on the down-arrow by each field.

- Using right-click on the down-arrows allows the underlying tables to be opened for each item, with access to the full functionality of those tables.

- The state of the Parts and Timers is visible through color-coding, in the usual way:  Green for ON, or timing; Red for OFF, or not timing.

- The state of Parts may be forced ON or OFF using Insert and Delete, in the normal fashion.  Forced parts appear with a yellow background, as usual.

The MenuPad table imposes no relationship between the parts, timers and errors selected on a given row, or anywhere in the table.